| Worksheet Revision No.: |  | Serial No.: |  |
| --- | --- | --- | --- |
| Customer: |  | Completed by/Date: |  |
| Project: |  | Reviewed by/Date: |  |
| SOR No.: |  | Item No.: |  |

| Universal Power Input | Item Number | 044415 |
| --- | --- | --- |
| Forward Protective Range = + kA If not specified, Forward Protective Range set at -20 X Reverse Trip Setpoint (+100kA max.) | Analog Output type: 0 to 10V 0 to 20mA 4 to 20mA See Comments | = 0 to + kA If not specified, output set at 4 to 20mA = Forward Protective Range. |
| Trip Description | Trip Setpoint (kA) | Delay Time | Delay Range |
| Reverse Instantaneous Minimum is: -2% of Forward Protective Range <=50kA, or –5% of Forward Protective Range >50kA | = - kA | < 10 mSec fixed | Not adjustable |
| Forward Instantaneous | Disable Enable | = + kA | < 10 mSec fixed | Not adjustable |
| Forward Short | Disable Enable | = + kA | = | < 10 mSec to 3 Sec |
| Forward Medium | Disable Enable | = + kA | = | < 2 Sec to 20 Sec |
| Forward Long | Disable Enable | = + kA | = | < 8 Sec to 100 Sec |

Note: 1.  Each Forward Trip Setpoint will be disabled if the corresponding setpoint and Delay Time is not specified, or if the “disable” check box is marked.

- The maximum Forward Trip Setpoint is equal to the Forward Protective Range.

- There must be a minimum difference of 2% of the Forward Protective Range value between each Forward Trip Setpoint.

Special Instructions:  Engineering review required

| Comments |  |
| --- | --- |